## Read me
How to use this workbook
1 | This workbook can be used as a financial modelling tool, to establish profitability with different input figures.
2 | Do this by entering new data in orange cells.
4 | The figures most likely to vary can be entered in the Overview tab.
5 | Other figures which can be changed appear in the yellow Profit and Loss tab.
6 | When you have made changes, check the Overview cells G4 and G5 turn green. If so, check the benefits to each stakeholder in the pie charts.
7 | This workbook is protected, so you can only make changes to orange cells. If other cells need changing, please contact:
andrew@climatepositive.eu
8 | To see the figures for only one network, make those for the other network zero, in the blue Inputs from Tech analysis tab.

## Overview
Biomass Portfolio overview
1 | Key indicator checks
When changes are made on this tab, check both of these indicators are green.
| a | Is all share capital repaid by end of project? | No
| b | Does the project make profit over the term? | No
2 | Factors influencing benefit sharing
|  | Number of project years (min= 1, max= 35) | 20
|  | All share capital to be repaid by end of term? | Yes
|  | Contribution to CBS operating costs | 2000 | £/yr 1
3 | Basic sensitivity analysis
|  | Rate of inflation (RPI). | 3%
|  | Fuel cost (pellet) | 4.8 | p/kWh
|  | Biomass fuel sale price | 5 | p/kWh
|  | Discount to local user | -4% | year 1
|  | Share interest rate | 3%
|  | Proportion of shares repaid each year (capped at post-tax profit) | 5%
4 | Notes to charts
| a. | The pie charts represent the direct financial benefits from the project.
| b. | The second pie chart shows the benefits at net present value (NPV). This is the value over the term of the project, adjusted for inflation, to show its value in today's money.
| c | The basic sensitivity analysis shows how the figures change as key inputs change. It can be used to test what changes are required to make the project financially viable. Do this by making changes until the above cashflow check cells are green.
| d | If one segment is a much smaller slice of the pie in the NPV chart than in the one above, this indicates a large proportion of the benefit is at the end of the term. Try adjusting the figures in the basic sensitivity analysis to until the two slices are closer in size.

## P&L Summary
Thurlestone biomass portfolio
Profit and Loss Forecast Summary
Figures shown in £000s
Project Year | 1 | 2 | 3 | 4 | 5 | 6-10 | 11-15 | 16-20 | Total
Sales
RHI | 4351.2 | 4481.7359 | 4616.188 | 4754.6737 | 4897.3139 | 26780.5196 | 31045.9621 | 35990.779 | 116918.3721 | 0
Local sales | 5879.9999 | 6144.5999 | 6421.1069 | 6710.0567 | 7012.0093 | 40086.8975 | 49955.5676 | 62253.726 | 184463.9638 | 0
Total Annual Sales | 10231.1999 | 10626.3359 | 11037.295 | 11464.7304 | 11909.3232 | 66867.4171 | 81001.5296 | 98244.5049 | 301382.336 | 0
Cost of sales | [9 empty] | 0
Fuel costs | 7055.9999 | 7594.7255 | 7990.4255 | 8406.3591 | 8843.5461 | 51597.4036 | 66397.8863 | 85358.5031 | 243244.8491 | 0
System operating costs | 911.7 | 8458.051 | 8711.7925 | 8973.1463 | 9242.3407 | 50540.9072 | 58590.7634 | 67922.753 | 213351.4542 | 0
Major items replacement reserve | 200 | 200 | 200 | 200 | 200 | 1000 | 1000 | 800 | 3800 | 0
Contribution to CBS operating costs | 4000 | 2060 | 2121.8 | 2185.454 | 2251.0176 | 12309.487 | 14270.0692 | 16542.9212 | 55740.749 | 0
Total cost of sales | 12167.6999 | 18312.7765 | 19024.018 | 19764.9594 | 20536.9044 | 115447.7979 | 140258.7189 | 170624.1773 | 516137.0523 | 0
EBIT | -1936.5 | -7686.4406 | -7986.723 | -8300.229 | -8627.5813 | -48580.3808 | -59257.1892 | -72379.6724 | -214754.7163 | 0
Share Interest | 0 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 22893 | 22893 | 22893 | 86993.4 | 0
Net profit before tax | -1936.5 | -12265.0406 | -12565.323 | -12878.829 | -13206.1813 | -71473.3808 | -82150.1892 | -95272.6724 | -301748.1163 | 0
Corporation tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net profit after tax | -1936.5 | -12265.0406 | -12565.323 | -12878.829 | -13206.1813 | -71473.3808 | -82150.1892 | -95272.6724 | -301748.1163 | 0

## Profit and Loss
Profit and Loss
[6 empty] | Key: | Outstanding issue to address or note. |  |  |  | User-changeable variable |  |  |  | Non-standard value |  |  |  | Cell value altered by last user
[6 empty] | Starting date | March | 2018
[7 empty] | Project Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
[7 empty] | At | March | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | Total | check
A. | Profit and Loss Forecast | [27 empty] | £ | bar: 1 2018 to 20 2037
Sales
|  |  | RHI payments | [5 empty] | 4351.2 | 4481.7359 | 4616.188 | 4754.6737 | 4897.3139 | 5044.2333 | 5195.5603 | 5351.4271 | 5511.9699 | 5677.329 | 5847.6489 | 6023.0783 | 6203.7707 | 6389.8838 | 6581.5803 | 6779.0277 | 6982.3986 | 7191.8705 | 7407.6267 | 7629.8555 | 116918.3721
|  |  | Local sales | [5 empty] | 5879.9999 | 6144.5999 | 6421.1069 | 6710.0567 | 7012.0093 | 7327.5497 | 7657.2894 | 8001.8675 | 8361.9515 | 8738.2393 | 9131.4601 | 9542.3758 | 9971.7827 | 10420.5129 | 10889.436 | 11379.4606 | 11891.5364 | 12426.6555 | 12985.855 | 13570.2185 | 184463.9638
|  | Total Annual Sales | [5 empty] | 0 | 10231.1999 | 10626.3359 | 11037.295 | 11464.7304 | 11909.3232 | 12371.783 | 12852.8497 | 13353.2946 | 13873.9214 | 14415.5683 | 14979.109 | 15565.4542 | 16175.5534 | 16810.3968 | 17471.0164 | 18158.4884 | 18873.9349 | 19618.526 | 20393.4817 | 21200.0739 | 301382.336 | 0
Cost of sales
|  |  | Fuel costs | [5 empty] | 7055.9999 | 7594.7255 | 7990.4255 | 8406.3591 | 8843.5461 | 9303.0571 | 9786.0159 | 10293.6023 | 10827.0548 | 11387.6735 | 11976.8231 | 12595.9361 | 13246.5162 | 13930.1417 | 14648.4693 | 15403.2379 | 16196.2725 | 17029.4887 | 17904.8969 | 18824.6071 | 243244.8491
|  |  | System operating costs |  |  |  | 8211.7 | Base £/yr 1 | 911.7 | 8458.051 | 8711.7925 | 8973.1463 | 9242.3407 | 9519.6109 | 9805.1992 | 10099.3552 | 10402.3359 | 10714.406 | 11035.8381 | 11366.9133 | 11707.9207 | 12059.1583 | 12420.933 | 12793.561 | 13177.3679 | 13572.6889 | 13979.8696 | 14399.2657 | 213351.4542
|  |  | Pump replacement reserve |  |  |  |  | £/yr | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 0 | 3800
|  |  | Contribution to CBS operating costs |  |  |  | 2000 | £/yr | 4000 | 2060 | 2121.8 | 2185.454 | 2251.0176 | 2318.5481 | 2388.1046 | 2459.7477 | 2533.5402 | 2609.5464 | 2687.8328 | 2768.4677 | 2851.5218 | 2937.0674 | 3025.1794 | 3115.9348 | 3209.4129 | 3305.6953 | 3404.8661 | 3507.0121 | 55740.749
|  | Total cost of sales | [6 empty] | 12167.6999 | 18312.7765 | 19024.018 | 19764.9594 | 20536.9044 | 21341.2162 | 22179.3197 | 23052.7053 | 23962.9309 | 24911.6258 | 25900.494 | 26931.3171 | 28005.9586 | 29126.3674 | 30294.5818 | 31512.7338 | 32783.0533 | 34107.8729 | 35489.6326 | 36730.8848 | 516137.0523 | 0
|  | EBIT |  | EBIT roughly equates to gross profit, for an energy society) |  |  |  |  | -1936.5 | -7686.4406 | -7986.723 | -8300.229 | -8627.5813 | -8969.4332 | -9326.47 | -9699.4107 | -10089.0094 | -10496.0575 | -10921.385 | -11365.8629 | -11830.4052 | -12315.9707 | -12823.5655 | -13354.2454 | -13909.1183 | -14489.3468 | -15096.1509 | -15530.8109 | -214754.7163 | 0
|  |  | Share interest |  |  |  | 3% |  | 0 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 4578.6 | 86993.4
|  | Net profit before tax | [6 empty] | -1936.5 | -12265.0406 | -12565.323 | -12878.829 | -13206.1813 | -13548.0332 | -13905.07 | -14278.0107 | -14667.6094 | -15074.6575 | -15499.985 | -15944.4629 | -16409.0052 | -16894.5707 | -17402.1655 | -17932.8454 | -18487.7183 | -19067.9468 | -19674.7509 | -20109.4109 | -301748.1163 | 0
|  |  | Corporation tax | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net profit after tax | [6 empty] | -1936.5 | -12265.0406 | -12565.323 | -12878.829 | -13206.1813 | -13548.0332 | -13905.07 | -14278.0107 | -14667.6094 | -15074.6575 | -15499.985 | -15944.4629 | -16409.0052 | -16894.5707 | -17402.1655 | -17932.8454 | -18487.7183 | -19067.9468 | -19674.7509 | -20109.4109 | -301748.1163 | 0
B. | Operating data
| 1 | Generation and sales quantities | [6 empty] | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
|  |  | Annual gross generated heat | [5 empty] | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 183700 | 3674000
|  |  | Annual net supplied heat | [5 empty] | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 146999.9983 | 2939999.9666
| 2 | Fuel cost and heat sale prices | bar: 1 2018 to 20 2037
|  |  | Fuel cost price fossil price linked |  |  |  | 0.048 | £/kWh | 0.048 | 0.05016 | 0.052417 | 0.054776 | 0.057241 | 0.059817 | 0.062508 | 0.065321 | 0.068261 | 0.071333 | 0.074543 | 0.077897 | 0.081402 | 0.085065 | 0.088893 | 0.092894 | 0.097074 | 0.10144 | 0.10601 | 0.11078
Fuel cost degradation adjusted
[5 empty] | Cumulative degradation |  | 0.7% | degradation | 3% | 3.7% | 4.4% | 5.1% | 5.8% | 6.5% | 7.2% | 7.9% | 8.6% | 9.3% | 10% | 10.7% | 11.4% | 12.1% | 12.8% | 13.5% | 14.2% | 14.9% | 15.6% | 16.3%
|  |  |  | Adjusted fuel cost price |  |  |  | £/kWh | 0.048 | 0.051665 | 0.054357 | 0.057186 | 0.06016 | 0.063286 | 0.066572 | 0.070025 | 0.073653 | 0.077467 | 0.081475 | 0.085687 | 0.090112 | 0.094763 | 0.099649 | 0.10478 | 0.11018 | 0.11585 | 0.1218 | 0.12806
|  |  | RHI, RPI linked |  |  |  | 2.96 | p. p kWh yr 1 | 0.0296 | 0.030488 | 0.031403 | 0.032345 | 0.033315 | 0.034315 | 0.035344 | 0.036404 | 0.037496 | 0.038621 | 0.03978 | 0.040973 | 0.042203 | 0.043469 | 0.044773 | 0.046116 | 0.047499 | 0.048924 | 0.050392 | 0.051904
|  |  | Local sales price - fossil price linked |  |  |  | 4 | p. p kWh yr 1 | 0.04 | 0.0418 | 0.043681 | 0.045647 | 0.047701 | 0.049847 | 0.05209 | 0.054434 | 0.056884 | 0.059444 | 0.062119 | 0.064914 | 0.067835 | 0.070888 | 0.074078 | 0.077411 | 0.080895 | 0.084535 | 0.088339 | 0.092314
| 3 | Inflation rates
|  |  | RPI |  |  |  | 3% | p.a. yr 1 | bar: 1 2018 to 20 2037
|  |  | Fossil price inflation |  |  |  | 1.5% | p.a. yr 1 above RPI | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5% | 4.5%
| 4 | Tax and capital allowances | bar: 1 2018
Loss carried forward | bar: 1 2018
[5 empty] | Loss brought down from last year |  |  |  | 0 | -1936.5 | -14201.5407 | -26766.8637 | -39645.6927 | -52851.874 | -66399.9071 | -80304.9771 | -94582.9878 | -109250.5973 | -124325.2547 | -139825.2397 | -155769.7026 | -172178.7078 | -189073.2785 | -206475.4439 | -224408.2893 | -242896.0077 | -261963.9545 | -281638.7054
[5 empty] | Profit this year |  |  |  | -1936.5 | -12265.0406 | -12565.323 | -12878.829 | -13206.1813 | -13548.0332 | -13905.07 | -14278.0107 | -14667.6094 | -15074.6575 | -15499.985 | -15944.4629 | -16409.0052 | -16894.5707 | -17402.1655 | -17932.8454 | -18487.7183 | -19067.9468 | -19674.7509 | -20109.4109 | -301748.1163
[5 empty] | Taxable profit after losses brought forward |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Loss carried forward |  |  |  | -1936.5 | -14201.5407 | -26766.8637 | -39645.6927 | -52851.874 | -66399.9071 | -80304.9771 | -94582.9878 | -109250.5973 | -124325.2547 | -139825.2397 | -155769.7026 | -172178.7078 | -189073.2785 | -206475.4439 | -224408.2893 | -242896.0077 | -261963.9545 | -281638.7054 | -301748.1163
|  |  | Taxable profit after losses | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital allowances
|  |  |  | Opening asset value |  |  |  |  | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920
|  |  |  | Less capital allowance |  |  | 8% |  | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 11913.6 | 148920
|  |  |  | Capped at taxable profit |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Closing asset value |  |  |  |  | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920 | 148920
|  |  | taxable profit after capital allowances | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Tax payable |  |  |  | 17% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Profit after tax | [5 empty] | -1936.5 | -12265.0406 | -12565.323 | -12878.829 | -13206.1813 | -13548.0332 | -13905.07 | -14278.0107 | -14667.6094 | -15074.6575 | -15499.985 | -15944.4629 | -16409.0052 | -16894.5707 | -17402.1655 | -17932.8454 | -18487.7183 | -19067.9468 | -19674.7509 | -20109.4109 | -301748.1163
|  |  | Cumulative profit after tax | [5 empty] | -1936.5 | -14201.5407 | -26766.8637 | -39645.6927 | -52851.874 | -66399.9071 | -80304.9771 | -94582.9878 | -109250.5973 | -124325.2547 | -139825.2397 | -155769.7026 | -172178.7078 | -189073.2785 | -206475.4439 | -224408.2893 | -242896.0077 | -261963.9545 | -281638.7054 | -301748.1163
| 5 | Share capital outstanding | [26 empty] | £ | bar: 1 2018 to 20 2037
|  |  | Cumulative unused profit carried forward | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Less profit used last year to repay capital | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Profit available to repay share capital | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Breakdown of year 20 share repayment calculation
|  |  | Share Capital repayments max. @ |  |  |  | 5% | of yr 0 capital p/yr | 0 | 0 | 0 | 0 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 7631 | 38155 | 152620 |  | Total payments to end year 19 | Balance to repay all share capital | Unused profit available | Total repaid year 20
|  |  | Share capital repayments capped at available profit | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 152620 | 0 | 0
|  |  | Closing share capital outstanding |  |  |  | 152620 |  | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620 | 152620
|  |  | Unused profit brought down | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C. | Savings to local users
Notional cost if biomass heat had been purchased from fossil supplier
|  |  |  | Fossil cost |  |  | 4 | p. p kWh | 0.04 | 0.0418 | 0.043681 | 0.045647 | 0.047701 | 0.049847 | 0.05209 | 0.054434 | 0.056884 | 0.059444 | 0.062119 | 0.064914 | 0.067835 | 0.070888 | 0.074078 | 0.077411 | 0.080895 | 0.084535 | 0.088339 | 0.092314
|  |  |  | Notional cost of biomass heat if bought from fossil supplier |  |  |  |  | 5879.9999 | 6144.5999 | 6421.1069 | 6710.0567 | 7012.0093 | 7327.5497 | 7657.2894 | 8001.8675 | 8361.9515 | 8738.2393 | 9131.4601 | 9542.3758 | 9971.7827 | 10420.5129 | 10889.436 | 11379.4606 | 11891.5364 | 12426.6555 | 12985.855 | 13570.2185 | 184463.9638
|  |  | Actual cost heat from biomass supplier | [5 empty] | 5879.9999 | 6144.5999 | 6421.1069 | 6710.0567 | 7012.0093 | 7327.5497 | 7657.2894 | 8001.8675 | 8361.9515 | 8738.2393 | 9131.4601 | 9542.3758 | 9971.7827 | 10420.5129 | 10889.436 | 11379.4606 | 11891.5364 | 12426.6555 | 12985.855 | 13570.2185 | 184463.9638
|  | Savings to user from solar PV generation purchases | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | NPV of savings to user |  |  |  |  | 3% | Discount rate | 1 2018: 0
| Note: | NPV stands for "Net Present Value", and is an estimate of the value in today's money of future payments over several years. Its accuracy depends how similar the discount rate is to the rate of inflation over time.
D. | Assumptions
| 1 | All operating costs |  |  |  | Rise in line with RPI increase.
| 2 | CBS operating costs year 1 |  |  |  | This multiplier of annual CBS operating costs: |  |  | 1 2018: 2
| 3 | Community fund |  |  |  | There is no community fund.
| 4 | Major item replacement reserve |  |  |  | Falling technology costs matched by RPI increases (so payments to reserve constant).
| 5 | System removal cost |  |  |  | If zero, assumes lease permits system to be left on site at end of term
| 6 | All local sales |  |  |  | No change in demand over time.
| 7 | Degradation |  |  |  | The degradation factor applies annually to the degraded yield.
| 10 | Business rates |  |  |  | None payable because total CBS RV under £12,000, and 100% business rate relief continues.
| 11 | Fossil price inflation |  |  |  | Calculated as a constant above RPI, which it has exceeded over the long term.
| 13 | Capital allowances |  |  |  | Capital cost includes all development costs. Book value written off in final year
F. | Summary of benefits to participants
[7 empty] | Flat | NPV
|  | NPV discount rate: | [5 empty] | 3%
|  | Local user |  |  |  |  | 0 | 0
|  | Members: Share interest |  |  |  |  | 86993.4 | 63672.7637
Assumptions
|  | 1 | All member capital returned by end year 20.
G. | Input data:
| 1 | Installation-related costs |  |  |  |  | Constant | Unit | bar: 1 2018
|  |  |  | Total size of installations |  |  | 170 | kWth
|  |  |  | Installed cost |  |  |  |  | 1 2018: 146000
|  |  |  | System Removal Cost |  |  |  |  | 1 2018: 0; 2 2019: Assumed passed to heat user on expiry of term.
|  |  |  | Metering |  |  |  |  | 1 2018: 0
|  |  |  | Installation costs before contingency |  |  |  |  | 1 2018: 146000
|  |  |  | Contingency |  |  | 2% |  | 1 2018: 2920
|  |  | Installation costs including contingency | [5 empty] | 1 2018: 148920
| 2 | Development costs
|  |  |  | Wayleaves |  |  |  |  | 1 2018: 0
|  |  |  | Financial projection review |  |  |  |  | 1 2018: 2200
|  |  |  | Lease preparation all parties |  |  |  |  | 1 2018: 1500
|  |  | Total predevelopment/ commissioning costs | [5 empty] | 1 2018: 3700
| 3 | Share capital
|  | Share capital required | [6 empty] | 1 2018: 152620
|  | Share interest rate | [6 empty] | 1 2018: 3%; 2 2019: /yr
|  | Capital repayments during term | [6 empty] | 1 2018: 5%; 2 2019: of original capital after first few years.
| 4 | System operating costs
|  |  |  | Fuel costs (pellet) |  |  |  | 4.8 | 1 2018: p/kWh
|  |  |  | System insurance premium |  |  | 0.01 | £/kWth/year 1 | 1 2018: 1.7; 2 2019: Assumes includes public liability.
|  |  |  | Maintenance charges |  |  | 5% | installed cost | 1 2018: 7300; 3 2020: Not applied in year 1.
|  |  |  | Monitoring |  |  | 5 | £/kWth/year | 1 2018: 850
|  |  |  | Metering charges |  |  | 5 | £/month | 1 2018: 60
|  |  |  | Rental |  |  | 0 | £/Year | 1 2018: 0
|  |  | Total system operating costs | [5 empty] | 1 2018: 8211.7
| 5 | Pump replacement reserve
|  |  | Number of pumps |  |  |  | 4
|  |  | Pumps replaced at this interval: |  |  |  | 5 | years
|  |  | Pump replacement cost |  |  |  | 250 | £/pump | 1 2018: 1000
|  |  | Pump eplacement provision annual. | [5 empty] | 1 2018: 200
| 6 | Generation and sales
|  |  | Annual gross generated heat |  |  |  | 183700 | kWh yr1
|  |  | Annual net supplied heat |  |  |  | 146999.9983 | kWh yr1
Degradation
|  |  |  | Year 1 |  |  | 3%
|  |  |  | Thereafter |  |  | 0.7% | p.a.
|  |  | RHI rate |  |  |  | 2.96 | p. p kWh
|  |  | Biomass heat sale price |  |  |  | 5 | p. p kWh
|  |  | Current fossil fuel cost |  |  |  | 4 | p. p kWh
| 7 | Tax and capital allowances
|  |  | Corporation tax rate |  |  |  | 17% | From 2020 | 1 2018: See rates here
|  |  | Writing Down Allowance |  |  |  | 8% | On integral features and long life assets, see here.
[6 empty] | Negative cashflow? | no | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Lists (hidden)
Yes/no
Choose
Yes
No

## Inputs from tech analysis
|  |  | Key: |  |  | User-changeable variable |  |  |  | Key variable
A. Annual operating costs and RHI income
[5 empty] | Site | Generation |  |  |  | Cost | Income
[6 empty] | Gross | Net | Transmission Losses | Net supplied | Pellet | RHI | Sales | Gross receipts | Net receipts
[6 empty] | kWh | kWh | kWh | kWh | £ | £ | £ | £ | £
[5 empty] | Northern | 137500 | 124999.9987 | 13000 | 111999.9987 | 6600 | 3315.2 | 5599.9999 | 8915.1999 | 2315.1999
[5 empty] | Southern | 46200 | 41999.9996 | 7000 | 34999.9996 | 2217.6 | 1036 | 1750 | 2786 | 568.4
[5 empty] | Total | 183700 | 166999.9983 | 20000 | 146999.9983 | 8817.6 | 4351.2 | 7349.9999 | 11701.1999 | 2883.5999
B. | Input data
| 1 | Capital cost
[8 empty] | Boiler size | System | Heat main | Ground-works | Total
[8 empty] | kWth | £ | £ | £
[5 empty] | Northern |  |  | 127 | 70000 | 7000 | 15000 | 92000
[5 empty] | Southern |  |  | 43 | 35000 | 7000 | 12000 | 54000
[5 empty] | Total |  |  | 170 | 105000 | 14000 | 27000 | 146000
| 2 | Operating data
Boiler combustion efficiency
[7 empty] | Multipier | 1.1
[7 empty] | Inverse | 0.90909
[5 empty] | RHI |  |  | 2.96 | p/kWh
[5 empty] | Pellet cost |  |  | 4.8 | p/kWh
[5 empty] | Sale price |  |  | 5 | p/kWh
C. | Notes
|  |  |  | 1 | The northern site is the parish hall and school
|  |  |  | 2 | The southern site is the church and church meeting rooms.
|  |  |  | 3 | Northern groundwork cost assumes the pipe can be passed under the road using a “mole”; if not road closure and repair would add around £5,000 to £7,000.
|  |  |  | 4 | Southern groundworks assumes minimal hand digging.
|  |  |  | 5 | Circulation pump run time assumed to be double the boiler running hours (1314).
D. | Sensitivity
|  | 1 | Groundworks cost |  |  |  |  | This is the largest capital cost variable, and carries significant risk, because encountering existing services or archaeological remains could increase costs by tens of thousands of pounds.
|  | 2 | Pipe heat losses |  |  |  | a | For the northern scheme, these could prove greater than projected because most of the heat is pumped through the ground from the hall to the school. This would increase fuel costs with no commensurate increase in RHI receipts.
[7 empty] | b | Changes to heat main route will change the figures.

## Key data for RCEF report table
A. Key Variables
|  |  | Term | 20 | years
|  |  | RHI rate (year 1) | 2.96 | £ p kWh
|  |  | Share interest rate | 3%
|  |  | Proportion of shares repaid each year (from year repayments commence) | 5%
|  |  | Proportion of net profit after tax to community pot | 0% | no community pot.
B. Other input data
1. Pre-development and commissioning costs
|  |  | Total predevelopment costs | 3700
| 2. Installation costs |  |  | 148920
4. Operating costs
|  |  | Fuel costs | 7055.9999 | Year 1
|  |  | System operating costs | 911.7 | Year 1
|  |  | Pump replacement reserve | 200 | Year 1
|  |  | Contribution to CBS operating costs | 4000 | Year 1
0
6. Generation and sales
|  |  | Expected net supplied heat | 146999.9983 | kWh Year 1
|  |  | Local sales | 5879.9999 | Year 1
|  |  | RHI payable | 4351.2 | Year 1
6. Tax and rates
|  | Annual Write Down Capital Allowance (% of previous year) |  | 8%
|  | Business rates |  | 0 | 100% SBRR